## Slide 1: Water System Infrastructure Improvements Merrimack Village District PFAS Treatment and CIP Wells 2, 3, 7 & 8
October 23, 2019

## Slide 2: Introductions
Don Provencher
  Chair, Board of Commissioners
Ron Miner
  Superintendent, MVD
Jill Lavoie
  Business Manager, MVD
Keith Pratt
  President, Underwood Engineers, Inc.
Mike Metcalf
  Sr. Project Manager, Underwood Engineers, Inc.

## Slide 3: Agenda
Background
Wells #4 and #5 Update
Wells #7 and #8
Wells #2 and #3
Challenges and Opportunities
Questions and Answers

## Slide 4: Background

## Slide 5
T
W
T
T
W
W
W
W
W
TP
P
P
P
166 Miles of Piping
6 wells
1 treatment plant
3 pumping stations
3 tanks
~$175 Million in Assets

## Slide 6
T
W
T
T
W
W
W
W
W
TP
P
TP
TP
TP
P
$20+ Million Investment
P
P

## Slide 7: Wells #4 and #5

## Slide 12
Notes: UC-1240-LD.
Not Acid Washed.
Bituminous based
Can be regenerated
Lignite is wood based coal

## Slide 13: Wells #7 and #8

## Slide 14: Existing Treatment Plant - #7/#8

## Slide 15: Well 7 & 8 Addition

## Slide 16: Well 7 & 8 Addition

## Slide 17: Wells #2 and #3

## Slide 18
2
3
1-1/4 miles Raw Water Transmission Main

## Slide 19: Well #2

## Slide 20: Well #3

## Slide 21: Well #2 & #3 Fe/Mn & PFAS Removal

## Slide 22: Well #2 & #3 Fe/Mn & PFAS Removal

## Slide 23: Schedule

## Slide 24: Master Schedule

## Slide 25: Systems Online - Target
July 2020
July 2021
July 2022
TODAY

## Slide 26: Challenges and Opportunities

## Slide 27: Funding
Wells #2/#3 and #7/#8

## Slide 28: Funding Request – May 2019 #2, #3, #7, and #8
Source | Request
DWGWTF Loan | $6,264,500
DWGWTF Grant | $1,450,000
DWSRF or NH Municipal Bond Bank | $6,500,000
MVD Capital Reserves | $285,500
TOTAL | $14,500,000

## Slide 29: Piloting and RSSCT
Fe/Mn and GAC

## Slide 31
Notes: KSD – 1-year pilot
Westfield – RSSCT
Pease – 1-year pilot
Hoosick -

## Slide 32: Evaluating Short Chain Too
Notes: 8-10 months breakthrough

## Slide 33: GAC Conditioning

## Slide 34: GAC Conditioning

## Slide 35
TP
W
W
Basin

## Slide 36: New MCL’s
Wells #2/#3 and #7/#8

## Slide 37: New MCL’s
NH just adopted new administrative rules July 19, 2019
  Drinking Water Standard
  Ambient Groundwater Quality Standard

## Slide 38: PFOA Concentration History

## Slide 39: Impact of New Standards
Now a regulatory requirement to treat
  Lag Vessels Required
  Larger WTP’s
  Preliminary estimate – add $3 million

## Slide 40: Well 7 & 8 Addition

## Slide 41: Current Capital Projects - Increases
Project | Budget | Additional
Turkey Hill Booster | $1,300,000 | 
Wells #4 and #5 PFAS | $4,160,000 | $1,000,000
Wells #7 and #8 PFAS | $3,600,000 | $1,500,000
Wells #2 and #3 PFAS | $6,400,000 | $1,500,000
Wells #3 Fe/Mn | $4,500,000 | 
TOTAL | $19,960,000 | $4,000,000
Total = $24.0 M
PFAS = $18.2 M

## Slide 42: Technical Review
UNH

## Slide 43: Commissioner Comments

## Slide 44: Questions?